## Instructions & Project Overview
Overview
Project Name: |  | Green Building | Date: | XX/XX/XXXX
Project Address: |  | 1100 4th st | Building Permit #: | B14XXXXXX
INSTRUCTIONS
The information provided in the following tabs will assist you in providing the correct documentation to comply with the Green Building Act and Green Construction Code. Projects required to comply with green building in the District should complete this sheet first to determine what other submittals will be necessary to submit to DCRA during the project to ensure proper documentation. Following the instructions and using the forms in this document will help to streamline the permitting, inspections and compliance processes at DCRA by presenting your project information in a standardized format, decreasing review time and potential inconsistencies between projects. In the case of a conflict between this document, 12 DCMR, 2012 IgCC, and/or ANSI/ASHRAE/USGBC/IES Standard 189.1-2011, the full text of the applicable document governs.
PROJECT OVERVIEW
Provide the following information on your project to determine the required submittals for Green compliance: |  |  |  |  | Yes
No
| Project Name: | Green Building
| Project Address: | 1100 4th st |  |  | Residential
| Date: | XX/XX/XXXX |  |  | Mixed Use Interior
| Building Permit #: | B14XXXXXX |  |  | Tenant Fit Out
Non-Residential
| Scope of Project: |  |  |  | Educational
Substantial Improvement?*:
Total Sqft:
Publicly-owned or Financed?**:
Use Type:
| Green Requirement: | None
New Construction
* 12 DCMR K 202 |  |  |  |  | Level 3 Alteration
** 12 DCMR K 302.2 |  |  |  |  | Level 2 Alteration
Level 1 Alteration
Site Work
Demolition/Raze

## Submittal Checklist
Submittal Checklist
Project Name: |  | Green Building |  | Date: | XX/XX/XXXX
Project Address: |  | 1100 4th st |  | Building Permit #: | B14XXXXXX
R E Q U I R E D S U B M I T T A L S
The following forms will be due at the listed stages of your project as determined by the information provided above. All forms can be found in the order in which they should be submitted along the tabs below:
Forms Due at Permit Submittal:
□ | Project Overview
□ | Online Permit Application
Forms Due at Final Inspection/Before Issuance of Certificate of Occupancy:
Binding Pledge
Cash
Credit
Forms Due within |  |  | of Issuance of Certificate of Occupancy: |  |  | Bond
___________ Initial | I, _______________________________________, on this date _____/_____/_____ certify that I have reviewed the requirements of the DC Green Construction Code and the project as defined above will meet all requirements including but not limited to submitting all necessary documentation to demonstrate full compliance.

## IgCC Energy Performance Path
IgCC EnergyPerformance Path
| Project Name: |  | Green Building |  | Date: | XX/XX/XXXX
| Project Address: |  | 1100 4th st |  | Building Permit #: | B14XXXXXX
R E Q U I R E M E N T S
Buildings designed on a performance basis must comply with Sections 602, 608.6, 609, and 611, per the requirements listed below: |  |  |  |  | Location in Plans & Specs | Permit Review | Inpsection Complete
Section 602 Modeled Performance Pathway |  |  |  |  | Does Not Comply
| zEPI | = | 55.86 |  |  | □ | NA
| EUIp | = | 49 | calculations: |  | □ | NA
| EUI | = | 50 | calculations: |  | □ | NA
Section 608.6 Equipment Controls
| Water dispensers that use energy to cool or heat drinking water controlled by time switch controls. |  |  |  |  | □ | □
| Lighting integral to vending machienes, refrigerator and freezer cases shall be controlled by an occupancy sensor or time switch. |  |  |  |  | □ | □
Section 609 Specific Appliances and Equipment
| 609.2.1.1 Elevator Ventilation: Cab ventilation fans other than air conditioning or air purifying fans shall have an efficacy greater than or equal to 3.0 cfm per watt (0.085 m3/min./watt) |  |  |  |  | □ | □
| 609.2.2 Escalators and Moving Walkways: Escalators and moving walkways must be capable of being automatically slowed in accordance with ASME A17.1/CSA B44 |  |  |  |  | □ | □
| 609.2.3 Commercial Food Service Equipment: Submit Calculation Form this section |  |  |  | Complies | □ | □
Section 611 Energy System Commissioning and Completion
| Refer to "Commissioning Plan" for complete documentation |  |  |  | Form | □ | □
| ___________ Initial | I, _______________________________________, on this date _____/_____/_____ certify that the project as defined above has met the requirements of the DC Green Construction Code, Section 601.3.1, Performance Based Compliance.
ENERGY STAR COMPLIANCE CALCULATOR
609.2.3 Commercial Food Service Equipment: At least 50 percent, based on total wattage, of the commercial food service equipment installed shall be Energy Star rated.
|  |  |  | Energy Star Model Available |  | ES Model NOT Available
Equipment Type |  |  | Manufacturer/Model No | ES Model Wattage | Non ES Wattage | Wattage
Range |  |  | Rogers/NS123 |  | 6000
6100
| A. Total Wattage ES Equipment |  |  |  | 6100
| B. Total Non ES Equipment When Model DOES exist |  |  |  | 6000
| Total Percentage Energy Star Equipment of Total |  |  |  | 50.41%

## IgCC Energy Prescriptive Path
IgCC Energy Prescriptive Path
| Project Name: |  | Green Building |  | Date: | XX/XX/XXXX
| Project Address: |  | 1100 4th st |  | Building Permit #: | B14XXXXXX
R E Q U I R E M E N T S
Buildings designed on a prescriptive basis must comply with the requirements listed below |  |  |  |  | Location in Plans & Specs | Permit Review | Inspection Complete
Section 605 Building Envelope Systems Building must comply with the Energy Conservation Code C402 | [5 empty] | □ | □
Section 606 Building Mechanical Systems:
1 | 606.3 Duct and Plenum Insulation and Sealing: Supply and return air ducts and plenums, air handlers and filter boxes shall be insulated and sealed in accordance with C403.2.7.1.1 of the Energy Conservation Code |  |  |  |  | □ | □
2 | 606.3.1 Duct Leakage Testing: Testing results CL < 4 at the time of the mechanical inspection. |  |  |  |  | NA | □
3 | 606.7 Kitchen Makeup Air: Kitchen ventilation systems that deliver conditioned supply air to any space containing a kitchen hood shall not be capable of exceeding the greater of the following: 1. The supply airflow rate required to meet the conditioning load; 2. The ventilation rate required for the area; or 3. The hood exhaust flow minus the available transfer air from adjacent spaces. For the purposes of this section, available transfer air is considered to be that portion of outdoor ventilation air not required to satisfy other exhaust needs, such as restrooms, and not required to maintain pressurization of adjacent spaces. |  |  |  |  | □ | □
4 | 606.8.1 Laboratory exhaust systems: Buildings with laboratory exhaust systems having a total exhaust rate greater than 5,000 cfm (2360 L/s) shall be provided with one of the specified requirements in Section 606.8.1 |  |  |  |  | □ | □
5 | 606.9 Group R-1 HVAC Control: Each sleeping room must be provided with a dedicated system to control automatically the heating, ventilating and air-conditioning (HVAC) systems to control the energy consumption during unoccupied periods, per specification of Section 606.9 |  |  |  |  | □ | □
Section 607 Building Water Heating Systems
| 606.2.2 Water heaters installed in dwelling units in buildings must be equipped with external water temperature thermostat controls |  |  |  |  | □ | □
Section 608 Electrical Power and Lighting System.
1 | 608.1 Sleeping unit controls: Group R-2 and R-2 sleeping units must have automatic control systems or shut off devices per the requirements of Section 608.1 and 608.1.1 |  |  |  |  | □ | □
2 | 608.3 Interior light reduction controls: Occupant sensor controls must be specified to automatically reduce power by 45% when the space is unoccupied, per the requirements of Section 608.3 |  |  |  |  | □ | □
3 | 608.4 Exterior lighting controls. Exterior lighting must be controlled by a time switch and configured so that the total exterior lighting power is automatically reduced by not less than 30 percent per the specifications of Section 608.4 |  |  |  |  | □ | □
4 | 608.5 Automatic daylight controls. Automatic daylight controls shall be provided in daylit areas to control the lights serving those areas |  |  |  |  | □ | □
5 | 608.9 Exterior lighting. All exterior lighting onsite must comply with Sections C405.6.1 and C405.6.2 of the International Energy Conservation Code regardless of how the power for that lighting is supplied |  |  |  |  | □ | □
Section 609 Specific Appliances and Equipment
| 609.2.1.1 Elevator Ventilation: Cab ventilation fans other than air conditioning or air purifying fans shall have an efficacy greater than or equal to 3.0 cfm per watt (0.085 m3/min./watt) |  |  |  |  | □ | □
| 609.2.2 Escalators and Moving Walkways: Escalators and moving walkways must be capable of being automatically slowed in accordance with ASME A17.1/CSA B44 |  |  |  |  | □ | □
| 609.2.3 Commercial Food Service Equipment: Submit Calculation Form this section |  |  |  | Complies | □ | □
Section 611 Energy System Commissioning and Completion
| Refer to separate form 611 for complete documentation |  |  |  | Form | □ | □
| ___________ Initial | I, _______________________________________, on this date _____/_____/_____ certify that the project as defined above has met the requirements of the DC Green Construction Code, Section 601.3.2 Prescriptive Based Compliance.
ENERGY STAR COMPLIANCE CALCULATOR
609.2.3 Commercial Food Service Equipment: At least 50 percent, based on total wattage, of the commercial food service equipment installed shall be Energy Star rated.
|  |  |  | Energy Star Model Available |  | ES Model NOT Available
Equipment Type |  |  | Manufacturer/Model No | ES Model Wattage | Non ES Wattage | Wattage
Range |  |  | Rogers/NS123 |  | 6000
6100
| A. Total Wattage ES Equipment |  |  |  | 6100
| B. Total Non ES Equipment When Model DOES exist |  |  |  | 6000
| Total Percentage Energy Star Equipment of Total |  |  |  | 50.41%

## Commissioning Requirements
Commissioning Requirements
| Project Name: |  | Green Building | Date: | XX/XX/XXXX
| Project Address: |  | 1100 4th st | Building Permit #: | B14XXXXXX
E N E R G Y S Y S T E M S C O M M I S S I O N I N G ( 6 1 1 )
The following must be certified by a registered design professional or approved agency and provided to the building official at the time of permit application:
| ___________ Initial | The registered design professional or approved agency shall keep records of the commissioning required Section 611.
| ___________ Initial | The registered design professional or approved agency shall furnish the Preliminary Commissioning Report to the owner prior to the final mechanical inspection, and, upon request, to the code official.
| ___________ Initial | The registered design professional or approved agency shall furnish an Operating and Maintenance Manual, System Balancing Report, and Final Commissioning Report to the building owner in compliance with Section 611.1.5 within 180 days of the date of issuance of the Certificate of Occupancy. The Final Commissioning Report shall also be made available to the code official upon request.
Provide the following information on the registered design professional or approved agency in responsible charge of commissioning:
Contact Name:
Firm/Agency:
Contact Phone:
| ___________ Initial | I, _______________________________________, on this date _____/_____/_____ certify that the project as defined above will meet the requirements of the DC Green Construction Code, Section 611, including but not limited to certifying that the attached commissioning plan has been developed by a registered design professional or approved agency as defined by code.
C O M M I S S I O N I N G R E Q U I R E M E N T S ( 9 0 3 . 1 )
Commissioning will be conducted in accordance with Table 903.1 of the DC Green Construction Code by a registered design professional or approved agency. The following must be certified by a registered design professional or approved agency regarding the Commissioning Plan and provided to the building official at the time of permit application:
| ___________ Initial | The registered design professional or approved agency shall keep records of the commissioning required by Table 903.1.
| ___________ Initial | The registered design professional or approved agency shall furnish commissioning reports to the owner and the registered design professional in responsible charge and, upon request, to the code official.
| ___________ Initial | A Final Commissioning Report shall be provided to the owner within 180 days after the date of issuance of a certificate of occupancy, and a copy shall also be made available to the code official upon request
Provide the following information on the registered design professional or approved agency in responsible charge of commissioning:
Contact Name:
Firm/Agency:
Contact Phone:
| ___________ Initial | I, _______________________________________, on this date _____/_____/_____ certify that the project as defined above will meet the requirements of the DC Green Construction Code, Section 903.

## Commissioning Plan
611 ¦Energy Systems Commissioning
| Project Name: | Green Building |  |  |  |  | Date: | XX/XX/XXXX
| Project Address: | 1100 4th st |  |  |  |  | Building Permit #: | B14XXXXXX
C O M M I S S I O N I N G P L A N
Activity |  | Phase | Person in Charge | Equipment and Systems to be tested | # Tests | Functions to be tested | Conditions under which tests will be performed | Criteria for Perfomance

## Project Elective Checklist
Appendix A ¦ Project Electives
| Project Name: | Green Building |  |  | Date: | XX/XX/XXXX
| Project Address: | 1100 4th st |  |  | Building Permit #: | B14XXXXXX
R E Q U I R E M E N T S
ERROR: Select Project Type on Instructions
[5 empty] | Total Electives Selected: | 18
A 1 0 4 S I T E
Indicate which elements are selected, and provide documentation with the plans and specifications at time of permitting: |  |  |  |  | Selected | Location in Plans & Specs | Inspection Complete
A104.2 |  | Wildlife Corridor |  |  | 1 | 1 | □
A104.3 |  | Infill Site |  |  | 1 |  | □
A104.4 |  | Brownfield Site |  |  | 1 |  | □
A104.5 |  | Site Restoration |  |  |  |  | □
A104.6 |  | Mixed Use Development |  |  |  |  | □
A104.7 |  | Changing and shower facilities |  |  |  |  | □
A104.8 |  | Long-term bicycle parking and storage |  |  |  |  | □
A104.9.1-2 |  | Site hardscape project elective | Percentage: |  |  |  | □
A104.9.4 |  | Roof covering project elective | Percentage: | 50 | 2 | 1 | □
A104.9.10 |  | Native plant landscaping | Percentage: |  |  |  | □
A104.9.11 |  | Electric Vehicle Charging |  |  |  |  | □ | 25
|  |  |  | Total Site Electives | 5 |  |  | 50
75
A 1 0 5 M A T E R I A L R E S O U R C E C O N S E R V A T I O N A N D E F F I C I E N C Y | [7 empty] | 100
Indicate which elements are selected, and provide documentation with the plans and specifications at time of permitting: |  |  |  |  | Selected | Location in Plans & Specs | Inspection Complete
A105.1 |  | Waste Management |  |  |  |  | □
A105.2 |  | Construction Waste Landfill Maximum |  |  |  |  | □
A105.3 |  | Reused, recycled content, recyclable, bio-based and indigenous materials | Percentage: | 75 | 2 |  | □
A105.4 |  | Life Service Plan |  |  |  |  | □
A105.5 |  | Design for Deconstruction and Building Reuse |  |  |  |  | □
A105.6 |  | Existing Building Reuse |  |  |  |  | □
A105.7 |  | Historic Building Reuse |  |  |  |  | □
|  |  |  | Total Material Electives | 2
A 1 0 6 E N E R G Y C O N S E R V A T I O N A N D E F F I C I E N C Y
Indicate which elements are selected, and provide documentation with the plans and specifications at time of permitting: |  |  |  |  | Selected | Location in Plans & Specs | Inspection Complete
A106.1 |  | Project zEPI lower than required by: |  | -4 | 0 |  | □
A106.2 |  | Mechanical Systems Project Elective |  |  |  |  | □
A106.3 |  | Service Water Heating |  |  |  |  | □
A106.4 |  | Lighting Systems |  |  |  |  | □
A106.5 |  | Passive Design |  |  |  |  | □
A106.6 |  | Renewable Energy Systems | Percentage: | 12 | 2 |  | □
A106.7 |  | Energy Display |  |  |  |  | □
A106.8 |  | Auto Demand Response to Lighting |  |  |  |  | □
A106.9 |  | Insulation and Fenestration |  |  |  |  | □
A106.10 |  | Permanent Shading Devices for Fenestration |  |  |  |  | □
A106.11 |  | Air leakage testing | cfm/ft2: | 0.25 | 2 |  | □
A106.12 |  | Waste Water Heat Recover |  |  |  |  | □
A106.13 |  | Circulating Hot Water Systems |  |  |  |  | □
A106.14 |  | Exterior Lighting and Signage Shutoff |  |  |  |  | □ | 0.25
A106.15 |  | Energy Star Equipment |  |  |  |  | □ | 0.15
A106.16 |  | Lighting Power Density Reduction | Percentage: | 25 | 3 |  | □
A106.17 |  | Green Power Purchases |  |  |  |  | □
|  |  |  | Total Energy Electives | 7
A 1 0 7 W A T E R R E S O U R C E C O N S E R V A T I O N A N D E F F I C I E N C Y | [7 empty] | 15
Indicate which elements are selected, and provide documentation with the plans and specifications at time of permitting: |  |  |  |  | Selected | Location in Plans & Specs | Inspection Complete | 20
A107.2 |  | Onsite Waste Water Treatment |  |  |  |  | □ | 25
A107.3 |  | Alternate Onsite Nonpotable Water for Outdoor Hose Use |  |  |  |  | □ | 30
A107.4 |  | Alternate Onsite Nonpotable Water for Plumbing Fixture Flushing |  |  | 1 |  | □ | 35
A107.7 |  | Alternate Onsite Nonpotable Water for Industrial Process Makeup Water |  |  |  |  | □
A107.8 |  | Alternate Onsite Nonpotable Water for Cooling Tower Makeup Water |  |  |  |  | □
A107.9 |  | Greywater Collection |  |  |  |  | □
A107.10 |  | Condensate Drainage Recovery |  |  |  |  | □
A107.11 |  | Wet-Hood Exhaust Scrubber System |  |  |  |  | □
|  |  |  | Total Water Electives | 1
A 1 0 8 I N D O O R E N V I R O N M E N T A L Q U A L I T Y A N D C O M F O R T
Indicate which elements are selected, and provide documentation with the plans and specifications at time of permitting: |  |  |  |  | Selected | Location in Plans & Specs | Inspection Complete
A108.2 |  | VOC Emissions - flooring |  |  |  |  | □
A108.3 |  | VOC Emissions - ceiling system |  |  | 1 |  | □
A108.4 |  | VOC Emissions - wall system |  |  |  |  | □
A108.5 |  | Total VOC Limit |  |  |  |  | □
A108.6 |  | Views to Building Exterior | Percentage: | 50 | 1 |  | □
A108.7 |  | Daylighting | Percentage: | 25 | 1 |  | □
A108.8 |  | Post-construction, Pre-occupancy Baseline IAQ Testing |  |  |  |  | □
A108.9 |  | Post-construction, Pre-occupancy Flush Out |  |  |  |  | □
|  |  |  | Total IAQ Electives | 3

## Preliminary Cx Report
Preliminary Commisioning Report
| Project Name: |  | Green Building | Date: | XX/XX/XXXX
| Project Address: |  | 1100 4th st | Building Permit #: | B14XXXXXX
C O M M I S S I O N I N G R E Q U I R E M E N T S
The following must be certified by a registered design professional or approved agency and provided to the building official prior to Final Inspection:
| ___________ Initial | Air systems balancing has been completed per 611.1.2.1
- OR -
| ___________ Initial | Project is excepted from air systems balancing because fans have motor horsepower of 5 hp or less. Provide horsepower: ______ and technical specifications.
| ___________ Initial | Hydronic systems balancing has been completed per 611.1.2.2
- OR -
| ___________ Initial | Project is excepted from hydronic systems balancing because pumps have motor horsepower of 5 hp or less. Provide horsepower: ______ and technical specifications.
- OR -
| ___________ Initial | Project is excepted from hydronic systems balancing because throttling results in not greater than 5% of the nameplate horsepower draw above theat required if the impeller were trimmed.
| ___________ Initial | Equipment functional performance testing has been completed per 611.1.3.1
| ___________ Initial | HVAC control systems testing has been completed per 611.1.3.2
| ___________ Initial | Economizer functional testing has been completed and economizers are operating in accordance with manufacturer's specifications.
| ___________ Initial | A preliminary report of commissioning test procedures and results has been completed in compliance with 611.1.4 and provided to the building owner.
| ___________ Initial | All mechanical and service water heating systems are in compliance with the Energy Conservation Code C403 and C404.
| ___________ Initial | All lighting controls have been installed in accordance with the approved construction documents.
| ___________ Initial | I, _______________________________________, on this date _____/_____/_____ certify that the project as defined above has met the requirements of the DC Green Construction Code, Section 611, including but not limited to items listed above.
The following must be certified by building owner and provided to the building official prior to Final Inspection:
| ___________ Initial | I, _______________________________________, on this date _____/_____/_____ certify that I have received the Preliminary Commissioning Report in compliance with 611 on the property listed above.

## Site Waste Management
406.1 ¦ Site Waste Management
Project Name: |  | Green Building |  | Date: | XX/XX/XXXX
Project Address: |  | 1100 4th st |  | Building Permit #: | B14XXXXXX
R E Q U I R E M E N T S
At least 75 percent of the land-clearing debris from a building site must be diverted from landfills. Land-clearing debris includes rock, trees, stumps and associated vegetation. Work to include:
1 | Effective destruction and disposal of invasive plant species
2 | Where the site is located in a federal or state designated quarantine zone for invasive insect species, building site vegetation management shall comply with the quarantine rules.
3 | Receipts or other documentation related to diversion shall be maintained through the course of construction. When requested by the code official, evidence of diversion shall be provided.
4 | Percentage of materials to be diverted shall be specified and calcuated by weight or volume, but not both.
Material Description |  |  | Diversion/Recycling Hauler or Location | Amount to Landfill (tons) | Amount Diverted (tons) | % Diverted
T O T A L :
V E R I F I C A T I O N D O C U M E N T A T I O N
Pursuant to 406.3 Verification, the following documentation may be required by the code official to show compliance with the requirements of Section 406.1: |  |  |  |  | Documentation Attached | Owner/Agent Acknowledgment
1 | Site survey to identify presence of invasive species prior to site clearing |  |  |  | □ | □
2 | Receipt for invasive plant disposal or description of destruction prior to construction |  |  |  | □ | □
3 | Acknowledgement the site is/is not in insect quarantine zone |  |  |  | □ | □
3a | Compliance with insect quarantine requirements |  |  |  | □ | □
| ___________ Initial | I, _______________________________________, on this date _____/_____/_____ certify that the project as defined above has met the requirements of the DC Green Construction Code, Section 406.1.

## Construction Waste Management
503.1 ¦ Construction Waste Management
| Project Name: | Green Building |  | Date: | XX/XX/XXXX
| Project Address: | 1100 4th st |  | Building Permit #: | B14XXXXXX
R E Q U I R E M E N T S
Not less than 50% of nonhazardous consrtuction waste shall be diverted from disposal. Work to include:
1 | Percentage of materials to be diverted shall be specified and calcuated by weight or volume, but not both
2 | Receipts or other documentation related to diversion shall be maintained through the course of construction. When requested by the code official, evidence of diversion shall be provided.
Material Description |  |  | Diversion/Recycling Hauler or Location | Amount to Landfill (tons) | Amount Diverted (tons) | % Diverted
T O T A L :
Material Description |  |  | Diversion/Recycling Hauler or Location | Amount to Landfill (tons) | Amount Diverted (tons) | % Diverted
I, _______________________________________, on this date _____/_____/_____ certify that the project as defined above has met the requirements of the DC Green Construction Code, Section 503.1.
I, _______________________________________, on this date _____/_____/_____ certify that the project as defined above has met the requirements of ASHRAE 189.1 Section 9.3.1, by adoption in the DC Green Construction Code, Section 303.
T O T A L :
The following documentation is recommended to show compliance with the requirements of Section 503.1: |  |  |  |  | Documentation Attached | Owner/Agent Acknowledgment |  | The following documentation is recommended to show compliance with the requirements of Section 9.3.1:
1 | Receipts or other documentation for diversion |  |  |  | □ | □ |  | The following documentation is recommended to show compliance with the requirements of Section 503.1:
| ___________ Initial | I, _______________________________________, on this date _____/_____/_____ certify that the project as defined above has met the requirements of the DC Green Construction Code, Section 503.1.

## Material Selection
505 ¦ Material Selection
| Project Name: | Green Building |  |  |  |  | Date: | XX/XX/XXXX
| Project Address: | 1100 4th st |  |  |  |  | Building Permit #: | B14XXXXXX
R E Q U I R E M E N T S
ERROR: Enter Sqft on Instructions Page
Material Selection and Properties | [7 empty] | X |  |  | X
Demonstrate at least 40% of materials used in the project (based on cost) are used materials and components, recycled content, recyclable building materials and building components, bio-based materials, indigenous or regional materials. | [10 empty] | The building project shall contain materials that comply with Section 9.4.1.1, 9.4.1.2, or 9.4.1.3. Calculations shall only include materials permanently installed in the project. A value of 45% of the total construction cost is allowed to be used in lieu of the actual total cost of materials.
Demonstrate at least 40% of materials used in the project (based on cost) are used materials and components, recycled content, recyclable building materials and building components, bio-based materials, indigenous or regional materials.
Whole Building Life Cycle Assessment | [10 empty] | 9.4.1
505.2
D O C U M E N T A T I O N
The following documentation is due to the code official within 180 days after the Final Inspection: | [8 empty] | Documentation Attached | Owner/Agent Acknowledgment
Material Selection and Properties
1 | Total Materials Cost Calculation | [7 empty] | □ | □
2 | Material Selection Calculation | [7 empty] | □ | □
3 | Cut sheets/Technical Data from each material listed | [7 empty] | □ | □
| ___________ Initial | I, _______________________________________, on this date _____/_____/_____ understand that the project as defined above is not required to meet the requirements of the DC Green Construction Code, Section 505.") | [8 empty] | I, _______________________________________, on this date _____/_____/_____ certify that the project as defined above has met the requirements of the DC Green Construction Code, Section 505.
I, _______________________________________, on this date _____/_____/_____ understand that the project as defined above is not required to meet the requirements of the DC Green Construction Code, Section 505.")
TOTAL MATERIALS COST CALCULATION - IgCC | [10 empty] | I, _______________________________________, on this date _____/_____/_____ certify that the project as defined above has met the requirements of ASHRAE 189.1 Section 9, by adoption in the DC Green Construction Code, Section 303.
Project is not required to submit this form
Default Materials Value: Based on the total construction costs (hard costs for CSI Master Format 2004 Divisions 2-10 only) | [7 empty] | x
Actual Materials Value: Based on actual materials cost (hard costs for Master Format 2004 Divisions 2-10 only)
[6 empty] | Total Construction Costs: | 100000
MATERIALS SELECTION CALCULATION
Mark qualifying feature (1). If a material complies with more than one section, the material value shall be multiplied by the number of sections with which it complies.
Qualifying Features
Material Name and Manufacturer |  |  | Material Cost | Used | Recycled | Recyclable | Bio-based | Indigenous | Qualifying Cost
Sample |  |  | 5000 | 1 |  | 1 |  |  | 10000
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
[8 empty] | Subtotal Qualifying Materials Cost: | 10000
MATERIALS SELECTION CALCULATION
Mark qualifying feature (1). If a material complies with more than one section, the material value shall be multiplied by the number of sections with which it complies.
Qualifying Features
Material Name and Manufacturer |  |  | Material Cost | Used | Recycled | Recyclable | Bio-based | Indigenous | Qualifying Cost
Sample |  |  | 5000 | 1 |  |  |  |  | 5000
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
[8 empty] | Subtotal Qualifying Materials Cost: | 5000
Total Qualifying Materials Cost | [8 empty] | 15000
Total Qualifying Materials Cost as a Percentage of Total Materials Cost | [8 empty] | 33.33%
TOTAL MATERIALS COST CALCULATION - ASHRAE 189.1
Project is not required to submit this form
Default Materials Value: Based on the total construction costs
Actual Materials Value: Based on actual materials cost | [7 empty] | x
[6 empty] | Total Actual Materials Cost: | 100000
MATERIALS SELECTION CALCULATION
Select Qualifying Feature:
| 9.4.1.1 Recycled Content (10% must comply) |  |  | X
9.4.1.2 Regional Materials (15% must comply)
9.4.1.3 Bio-based Products (5% must comply)
Mark qualifying feature with the percentage (%) of that material that complies:
Qualifying Features
Material Name and Manufacturer |  |  | Material Cost |  | Post-Consumer Recycled |  | Pre-Consumer Recycled |  | Qualifying Cost
Sample |  |  | 5000 | [5 empty] | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
[8 empty] | Subtotal Qualifying Materials Cost: | 0
MATERIALS SELECTION CALCULATION
Mark qualifying feature with the percentage (%) of that material that complies:
Qualifying Features
Material Name and Manufacturer |  |  | Material Cost |  | Post-Consumer Recycled |  | Pre-Consumer Recycled |  | Qualifying Cost
Sample |  |  | 5000 | [5 empty] | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
[8 empty] | Subtotal Qualifying Materials Cost: | 0
Total Qualifying Materials Cost | [8 empty] | 0
Qualifying Percentage | [8 empty] | 0%

## Final Cx Report
Final Commissioning Report
| Project Name: | Green Building | Date: | XX/XX/XXXX
| Project Address: | 1100 4th st | Building Permit #: | B14XXXXXX
C O M M I S S I O N I N G R E Q U I R E M E N T S
The following must be certified by building owner and provided to the building official within 180 days of the date of issuance of the Certificate of Occupancy:
| ___________ Initial |  |  |  | I, _______________________________________, on this date _____/_____/_____ certify that I have received the Operating and Maintenance Manual, System Balancing Report, and Final Commissioning Report in compliance with Section 611 on the property listed above.
I, _______________________________________, on this date _____/_____/_____ certify that I have received the System Manual, and Final Commissioning Report in compliance with Section 10.3 on the property listed above.